[ENV10] Anaerobic wastewater treatment to yield biogas

Norazwina Zainol, Rakmi Abd. Rahman

Department of Chemical and Process Engineering,Universiti Kebangsaan Malaysia, 43600 UKM Bangi, Selangor, Malaysia

Introduction

Anaerobic treatment of industrial wastewater has became a viable technology in recent years due to the rapid development of high-rate reactors, such as anaerobic filter, upflow anaerobic sludge blanket (UASB) (Fang et al., 1996; Dinsdale et al., 1997) both upflow and downflow stationary packed beds (Nebot et al., 1995), and fluidized or expanded beds (Chen et al., 1988; Breintenbucher et al., 1990; Hickey et al., 1991; Iza, 1991; Perez et al., 1997a; Seckler et al., 1996). This development is due to the fact that the method combines a number of significant advantages, including low energy consumption, low excess sludge production and enclosure of odours.

Anaerobic digestion is among the oldest biological wastewater treatment processes, having first been used more than a century ago. The most important reasons for the choice of anaerobic digestion as a treatment method are the feasibility to treat wastewaters with a high organic load. According to international experience (Hartmann, 1993), the aerobic treatment of such a wastewater requires biological purification systems with high construction and operational costs (energy consumption), besides which stabilisation of the biological reactions is not assured (activated-sludge tanks), or the wastes cause clogging of installations such as aerobic biological filters and biodiscs. In the case of seasonal operation of the production units, the disadvantage of a slow start-up after the non-feeding conditions makes the aerobic treatment unacceptable for the treatment of mill wastewater. With bioreactors for anaerobic fermentation these problems are not present (Dalis et al., 1996).

Anaerobic digestion of high-strength industrial wastewaters becomes more attractive as higher influent concentration and shorter hydraulic retention times (HRTs) reduce capital and operating costs (Ripley et al., 1986). The anaerobic filter is one of the more common of the anaerobic digestion options for the treatment of industrial wastes and extensive research on design and modeling has greatly increased the understanding of the impacts of the fundamental controlling phenomena (Tilche and Vieira, 1991).  Changes in temperature, both increases and decreases, may adversely affect the digestion performance (Parkin and Owen, 1986). A sudden temperature change causes a simultaneous increase in the concentration of all the volatile fatty acids (VFA), especially in acetic and propionic acids (Dohanyos et al., 1985). The extent of the impact depends on factors such as the magnitude of the temperature change applied, the exposure time and the bacterial composition of the sludge.  At temperatures exceeding the maximum value for growth, decay exceeds the growth rate of bacteria, which will then result in a decrease of the sludge activity and consequently in the reactor removal capacity (Visser et al., 1993).  Industrial full-scale reactors tend to have high process stability but sudden environmental changes, e.g. temperature shocks, may cause severe effects on the reactor performance (Ahn and Forster, 2002).

The treatment capacity of an anaerobic digestion system is primarily determined by the amount of active population retained within the system which in turn is influenced by wastewater composition, system configuration and operation of anaerobic reactor (Tang and Fan, 1987; Fox et al., 1990; Suidan et al., 1996; Perez et al., 1997a).  The objective of this study is to determine the optimum conditions (HRT, OLR, temperature and pH) for biogas production using biological cellulose recovery wastewater as substrate.

### Materials and methods

# Feedstock Material

Wastewater collected from biological cellulose recovery process was used directly in the study.  The characteristics of each batch of wastewater used in an experimental run were monitored.  The average characteristics are given in Table 1.

TABLE 1 Characteristics of wastewater from biological cellulose recovery process

| Parameter | Average composition |
| --- | --- |
| pH | 4.5 – 5 |
| Chemical oxygen demand (COD) | 10000 mg/l |
| Suspended solids (SS) | 10 g/l |

Inoculum

The inoculum for seeding the reactor was using rotten banana stem sludge. The sludge was initially passed through a screen to remove the foreign material.  The methanogenic activity was found to be 0.08 l CH4/g MLSS day.  The sludge was acclimatized with wastewater from biological cellulose recovery process for four weeks under anaerobic conditions. After acclimatization, the methanogenic activity raised to 0.11 l CH4/g MLSS day and same was inoculated.

# Experimental set-up

All experiments were done in 10 l anaerobic batch reactor with gas outlet (Figure 1).  All the reactors were seeded with anaerobic acclimatized banana stem sludge.  The anaerobic digestion system was varied at reaction temperatures between 26oC to 40oC using water bath.  The pH, hydraulic retention times (HRT) and organic loading rates (OLR) of the reactors were varied for different experimental runs (Table 2).  Daily withdrawal of an appropriate volume from the reactor corresponding to the determined HRT or OLR was done by a draw-and-fill method.  pH was controlled by using NaHCO3 as buffer solution.  Biogas evolved from the reactor was measured and collected in a gas holder by water displacement.  Samples were collected and analysed for performance evaluation.

# FIGURE 1 Experimental set-up for biogas production from biological cellulose recovery wastewater

TABLE 2 Parameter variations for biogas production

| Parameter | Variation |
| --- | --- |
| Temperature (oC) | 26,30,35,40 |
| pH | 4.5,6,7,8,9 |
| HRT (days) | 3,5,10,15,20 |
| OLR (kg SS/m3 day) | 7.2,10,19,33,50 |

Analytical methods

COD concentration was spectrophotometrically analysed using a spectrophotometer and methods as in Spectrophotometric Instrument Manual.  Gas collection was done using water displacement daily.  Substrate concentration was measured as suspended solid according to Standard Methods for The Examination of Water and Wastewater.  20 ml well-mixed sample was filtered through a weighed standard glass-fiber filter and the residue retained on the filter is dried to a constant weight at 103oC to 105oC.  The increase in weight of the filter represents the total suspended solids (Greenberg et al., 1992).

Results and Discussions

FIGURE 2 Organic loading rate variations in biogas production from biological cellulose recovery wastewater

FIGURE 3 Hydraulic retention time variations in biogas production from biological cellulose recovery wastewater

FIGURE 4 Temperature variations in biogas production from biological cellulose recovery wastewater

FIGURE 5 pH variations in biogas production from biological cellulose recovery wastewater

Biogas production efficiency

The performance of the reactor was tested under the conditions of various temperatures (26oC-40oC), organic loading rates (OLR) (7.2 kgSS/m3 day-50 kgSS/m3 day), hydraulic retention times (HRT) (3 days-20 days) and pH (4.5 to 9).  Five experimental runs were completed for each parameter.  The general trend showed gradually increasing biogas yield with lowering of HRT (Figure 3) and increasing of OLR.  COD is the major pollution control parameter stimulated in the environmental quality regulations currently enforced in Malaysia.  The biogas yield was pronounced in terms of COD.  The maximum biogas yield obtained at HRT of 5 days which is 3 l biogas/g COD.  The optimum temperature to produce biogas is 35oC since temperature more than 35oC did not improve biogas yield (Figure 4).  Nagamani and Ramasamy (1991) also observed that though there was higher production of biogas at 55oC, the process was unstable due to higher production of volatile fatty acids and that specific microbial consortia was needed for biomethanation of cattle waste at 55oC.  In order to increased biogas yield a pH of 8 is optimum (Figure 5), though the biogas production was satisfactory at pH 7 as well.  Sahota and Ajit (1996) reported that the biogas production was significantly affected when the pH of the slurry decreased to 5.  They observed decreased methanogenic activity due to lower pH.  The effect of OLR concentration on the biogas production is given in Figure 2.  The maximum biogas yield was observed to be around 2.5 l biogas/g COD corresponding to OLR of 50 kgSS/m3 day. It was appeared that the system was able to tolerate high organic loading rate.

Biogas yield

Animal wastes were generally used as feedstock in biogas plants and their potential for biogas production.  But, the availability of these substrates is one of the major problems hindering the successful operation of biogas digesters.  Many researchers have explored various substrates for biogas production (Dalis et al. 1996; Lata et al., 2002; Perez et al., 1999; Kalyuzhnyi et al., 1998; Sammaiah et al., 1991; Gangagni Rao et al., 2004).  For biogas production the two most important parameters in the selection of particular plant feedstock are the economic considerations and the yield of methane for fermentation of that specific feedstock (Smith et al., 1992).  Biological cellulose recovery was using banana stem waste as substrate.  The high non-structural carbohydrates in biological cellulose recovery wastewater make it a good feedstock for biogas production.  Biological cellulose recovery wastewater was selected as the substrate in this study.  The maximum biogas yield obtained in this study was 3 l biogas/g COD.  The optimum conditions for biogas production were as follows; temperature of 35oC, OLR of 50 kgSS/m3 day, HRT of 5 days and pH 8.  Martin et al. (1991) reported biogas yield of 1.74 l biogas/ g COD using olive mill wastewater as substrate at pH 7.5.  In the case of fruit and vegetables wastes, at mesophilic conditions (30oC) Dinsdale et al. (2000) and Viswanath et al. (1992) observed yields of 0.5 l biogas/g COD and 2.8 l biogas/g COD respectively.  Martin et al. (1994) investigated the optimum HRT  for the production of biogas from olive mill wastewater and reported that 5 days HRT was the best for maximum production of biogas (1 l biogas/g COD).  Hashimoto (1983) and Polat et al. (1993) also applying low HRT in their research (8 days).  Hashimoto (1983) was using straw plus manure as substrate and obtained biogas yield of 2.2 l biogas/g COD while Polat et al. (1993) reported 0.78 l biogas/g COD from sunflower head.

Conclusions

Preliminary studies were conducted to assess the biogas yield using biological cellulose recovery wastewater as feedstock.  Anaerobic batch reactor (volume 10 l) was used in this study.  The performance of the reactor was tested under the conditions of various temperatures (26oC-40oC), organic loading rates (OLR) (7.2 kgSS/m3 day-50 kgSS/m3 day), hydraulic retention times (HRT) (3 days-20 days) and pH (4.5 to 9).  After about 30 days, biogas yield from preliminary studies reached maximum values of 3 l biogas/g COD.  Biogas yield increased with increased OLR.  The best conditions for biogas production from banana stem were as follows; temperature of 35oC, OLR of 50 kgSS/m3 day, HRT of 5 days and pH 8.  The biogas yield is comparable to others reported in literature.

Acknowledgement

The authors wished to thank the Ministry of Science, Technology and Innovation (MOSTI), Malaysia for the National Science Fellowship awarded to Norazwina Zainol and for IRPA grant awarded to Rakmi Abd. Rahman.

References

Ahn, J. and Forster, C.F. (2002) .The effect of temperature variations on the performance of mesophilic and thermophilic anaerobic filters treating a simulated papermill wastewater .Process Biochemistry 37: 589–594.

Breitenbucher, K., Siegel, M., Knupfer, A. and Radke, M. (1990). Open-pore sintered glass as a high-efficiency support medium in bioreactors: new results and long term experiences achieved in high-rate anaerobic digestion. Wat. Sci. Tech. 22: 25-32.

Chen, S.J., Li, T.C. and Shieh, W.K. (1988). Anaerobic fluidized bed treatment of an industrial wastewater. Journal WPCF 60(10): 1826-1832.

Dalis, D., Anagnostidis, A. K., Lopez, A. A., Letsiou, A. I. and Hartmann, I. (1996). Anaerobic digestion of total : raw olive-oil wastewater in a two-stage pilot-plant (up-flow and fixed-bed bioreactors). Bioresource Technology 57: 237-243.

Dinsdale, R. M., Premier, G. C., Hawkes, F. R. and Hawkes D. L. (2000). Two stage anaerobic co-digestion of waste activated sludge and fruit/vegetable waste using inclined tubular digesters. Bioresour. Technol. 72(2): 159–68.

Dinsdale, R.M., Hawkes, F.R. and Hawkes, D.L. (1997). Comparison of mesophilic and thermophilic upflow anaerobic sludge blanket reactors treating instant coffee production wastewater. Wat. Res. 31(1): 163-169.

Dohanyos, M, Kosova, B, Zabranska, J and Grau, P. (1985). Production and utilization of VFA’s in various types of anaerobic reactors. Water Sci. Technol. 17: 191–205.

Fang, H.H.P., Chen, T., Li, Y. and Chui, H. (1996). Degradation of phenol in wastewater in an upflow anaerobic sludge blanket reactor. Wat. Res. 30(6): 1353-1360.

Fox, P., Suidan, M.T. and Bandy, J.T. (1990). A comparison of media types in acetate fed expanded-bed anaerobic reactors. Wat. Res. 24(7): 827-835.

Gangagni Rao A., Venkata N. G., Prasad K. K., Rao N. C., Mohan S. V. and Jetty A. P.N. (2004). Anaerobic treatment of wastewater with high suspended solids from a bulk drug industry using fixed film reactor (AFFR). Bioresource Technology 96: 87–93.

Greenberg, A. E., Clesceri, L. S. and Eaton, A. D. (1992). Standards methods for the examination of water and wastewater . 18th Edition. American Public Health Association, Washington, DC.

Hartmann, L. (1993). Biologische Abwassereinigung 3. Uberarbeitete. Springer, Berlin.

Hashimoto, A. G. 1983. Conversion of straw–manure mixtures to methane at mesophilic and thermophilic temperatures. Biotechnol. Bioeng. 25: 185–200.

Hickey, R.F., Wu, W.M., Veiga, M.C. and Jones, R. (1991). Start-up, operation, monitoring and control of high-rate anaerobic treatment systems. Wat. Sci. Tech. 24: 207-255.

Iza, J. (1991). Fluidized bed reactors for anaerobic wastewater treatment. Wat. Sci. Tech. 24: 109-132.

Kalyuzhnyi S., Fedorovich V. and Nozhevnikova A. (1998) . Anaerobic treatment of liquid fraction of hen manure in UASB reactors. Bioresource Technology  65: 221-225.

Lata K., Kansal A., Balakrishnan M., Rajeshwari K.V. and Kishore V.V.N. (2002).Assessment of biomethanation potential of selected industrial organic effluents in India. Resources, Conservation and Recycling 35: 147–161.

Martin, A., Borja, R., Garcia, I. and Fiestas, J. A. (1991). Kinetics of methane production from olive mill wastewater. Process Biochem. 26: 101-107.

Martin, A., Borja, R. and Banks, C. J. (1994). Kinetic model for substrate utilization and methane production during anaerobic digestion of olive mill wastewater and condensation water waste. J. Chem. Thec. Biotechnol. 60: 7-16.

Nagamani, B. and Ramasamy, K. (1991). Biogas production technology: an Indian perspective. 31st Annual Conference of Association of Microbiologists of India. Tamil Nadu Agricultural  University, Coimbatore: 102.

Nebot, E., Romero, L.I., Quiroga, J.M. and  Sales, D. (1995). Effect of the feed frequency on the performance of anaerobic filters. Anaerobe 1: 113- 120.

Parkin, G.F. and Owen, W.F. (1986). Fundamentals of anaerobic digestion of wastewater sludges. J. Environ. Eng. ASCE 112(5): 867–920.

Perez, M., Romero, L.I., Nebot, E. and  Sales, D. (1997a). Colonisation of a porous sintered glass support in anaerobic thermophilic bio-reactors. Bioresource Technol. 59: 177- 183.

Perez M., Romero L. I. and  Sales D.(1999). Anaerobic thermophilic fluidized bed treatment of industrial wastewater: effect of F:M relationship. Chemosphere 38(14): 3443-3461.

Polat, H., Selcuk, N. and Soyupak, S. 1993. Biogas production from agricultural wastes: semicontinuous anaerobic digestion of sunflower heads. Energy Sources 15:67–75.

Ripley, L.E., Boyle, W.C. and Converse, J.C. (1986). Improved alkalimetric monitoring for anaerobic digestion of high-strength wastes. J. Water Pollut. Control Fed. 58: 406–11.

Sahota, P. and Ajit, S. (1996). Digester performance during winters in Northen India. Res. Dev. Rep. 13: 35-40.

Sammaiah P., Sastry C.A. and Murty D.V.S. (1991). Dairy wastewater treatment using anaerobic contact filter. Ind. J. Environ. Protection. 11(6): 418–42.

Seckler, M.M., Van Leeuwen, M.L. J., Bruinsma, 0.S.L. and Van Rosmalen, G.M. (1996). Phosphate removal in a fluidized bed: process optimization. Wat. Res. 30(7): 1589-1596.

Smith, W.H., Wilkie, A. C. and Smith, P.H. (1992). Methane from biomass: a systems approach. TIDE 2: 1-20.

Suidan, M.T., Flora, J.R.V., Boyer, T.K., WueUner, A.M. and Narayanan, B. (1996). Anaerobic dechlorination using a fluidized-bed GAC reactor. Wat. Res. 30 (1): 160- 170.

Tang, W.T. and Fan, L.S. (1987). Steady state phenol degradation in a draft-tube, gas-liquid-solid fluidized bed bioreactor. AIChE J. 33: 239.

Tilche, A. and Vieira, M.M. (1991). Discussion report on reactor design of anaerobic filters and sludge bed reactors. Water Sci. Technol. 24(8): 193–206.

Visser, A., Gao, Y. and Lettinga, G. (1993). Effects of short-term temperature increases on the mesophilic anaerobic breakdown of sulfate containing synthetic wastewater. Water Res. 27: 541–550.

Viswanath, P, Devi, S. S. and Nand, K. (1992). Anaerobic digestion of fruit and vegetable processing wastes for biogas production. Bioresour. Technol. 40: 43–8.